## Engineering Setup
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
SPS30 | PM1,2.5,4,10 | 1 to 1000 or 0.0 - 500.4 | 1 | 1 | 0 | 0 | 0 |  | 1 | 0 | 0 | 0 |  | 1 | 0 | 0 | 0 | 0 |  | 1 | 0 | 0 | 0
SCD30 | CO2, rH, T | 0-40000, 0.0-99.0RH, -40.0-70.0T | 2 | 4 | 0 | 0 | 0 | 0 |  | 1 | 0 | 0 | . | 0 |  | 7 | 0 | . | 0
BME680 | IAQ, rH, hPa, T | 0-400, 10-90, 300-1100, -40-85.5 | 3 | 4 | 0 | 0 |  | 9 | 0 |  | 1 | 1 | 0 | 0 |  | 8 | 5 | . | 5
SGP30 | VOC, CO2eq | 0-60000ppm, 0-60000ppb | 4 | 1: 6; 2: 0; 3: 0; 4: 0; 5: 0; 7: 6; 8: 0; 9: 0; 10: 0; 11: 0
CCS811 | VOC, CO2eq
20x4 Character Air Quality Display |  |  |  | 5: CO2ppm
[8 empty] | eCO2ppm |  |  |  |  | rH% |  |  |  |  | Temp
|  |  | PM1 | 9 | 9 | 9 |  | 5 | 0 | 0 | 0 | N/P/! | 9 | 9 | . | 9 | % | + | 7 | 0 | . | 0 | C
|  |  | PM2.5 | 9 | 9 | 9 | N/P/! | 5 | 0 | 0 | 0 | N/P/! | 9 | 9 | . | 5 | % | + | 8 | 5 | . | 0 | C
|  |  | PM4 | 9 | 9 | 9 | [5 empty] | N/P/! |  | 6 | . | 9 | g |  | 2 | 2 | 0 | 0 | N/P/!
|  |  | PM10 | 9 | 9 | 9 | N/P/! | 1 | 1 | 0 | 0 | L/N/H | 1 | 8 | 1 | . | 4 | N/P/1 | 2 | 2 | 0 | 0 | N/P/!
[8 empty] | Pressue mPa | [5 empty] | absHum g/m^3 |  |  |  |  | TVOC ppb
| Thresh | Poor | Unhealthy | 11: IAQ
CO2 | 800 | 1000 | 5000 | 1: https://www.element14.com/community/roadTestReviews/2771/l/sensirion-environmental-sensor-shield-review
CO | 9 | 35 | 50 | 1: https://www.kidde.com/home-safety/en/us/support/help-center/browse-articles/articles/what_are_the_carbon_monoxide_levels_that_will_sound_the_alarm_.aspx#targetText=Levels%20of%20carbon%20monoxide%20exposure,no%20one%20is%20experiencing%20symptoms
IAQ | 50 | 100 | 150 | 1: https://cdn-shop.adafruit.com/product-files/3660/BME680.pdf
TVOC | 220 | 660 | 2200 | 1: https://www.element14.com/community/roadTestReviews/2771/l/sensirion-environmental-sensor-shield-review
PM2.5 | 10 | 25 | 65 | 1: https://www3.epa.gov/region1/airquality/pm-aq-standards.html; 7: https://en.wikipedia.org/wiki/Air_quality_guideline#targetText=Air%20quality%20guideline%20is%20an,%2Fm3%2024%2Dhour%20mean.
PM10 | 20 | 50 | 150 | 1: https://www3.epa.gov/region1/airquality/pm-aq-standards.html; 7: https://en.wikipedia.org/wiki/Air_quality_guideline#targetText=Air%20quality%20guideline%20is%20an,%2Fm3%2024%2Dhour%20mean.
680res | 5000 | 10000 | 300000
HUM | 45-55 good
30-60 Thres
60-80 is high

## Two Page Setup
|  | PM1 | N/P/! | rH | N/P/! | Temp | C
|  | PM2.5 | N/P/! | aH | gr
|  | PM4 |  | Pressure | mb | VOC | N/P/!
|  | PM10 | N/P/! | dPressure | N/P/! | CO2 | N/P/!
|  | P01 |  | rH | N | Temp | C
|  | P25 | N | aH
|  | P04 |  | P |  | VOC | N
|  | P10 | N | dP | N | CO2 | N
|  | 999 | ugr | 45 | % | 23.3 | C
|  | 999 | ugr | 6 | gr
|  | 999 | ugr | 1203 | mb | 23 | ppb
|  | 999 | ugr | 5 | mb | 1234 | ppm
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| 0 | 999 0: P; ugr 1: 0; 5 2: 1; ppm 8: r; ppm 9: H; ppm 1: N; ppm 3: T; ppm 4: E; ppm 5: M; ppm 6: P; ppm 8: N
| 1 | 999 0: P; ugr 1: 2; 5 2: 5; 1234 4: N; ppm 8: a; ppm 9: H
| 2 | 999 0: P; ugr 1: 0; 5 2: 4; ppm 9: P; ppm 1: N; ppm 3: t; ppm 4: V; ppm 5: O; ppm 6: C; ppm 8: N
| 3 | 999 0: P; ugr 1: 1; 5 2: 0; 1234 4: N; ppm 8: d; ppm 9: P; ppm 1: N; ppm 4: C; ppm 5: O; ppm 6: 2; ppm 8: N
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| 0 | 9 | 9 | . | 9 | u | g |  |  | 4 | 5 | % |  | + | 2 | 5 | . | 3 | C
| 1 | 0: 9; 1: 9; 2: .; 3: 9; 4: u; 5: g; 7: 6; 8: .; 9: 6; 0: g
| 2 | 9 | 9 | . | 9 | u | g | 1 | 2 | 3 | 4 | m | b |  |  | 2 | 3 | 3 | p | p | b
| 3 | 9 | 9 | . | 9 | u | g |  |  |  | 5 | m | b |  | 1 | 2 | 3 | 4 | p | p | m
24HRS | Average Pressure Filter
| fs | 0: 0.016667; 1: Hz; 2: 0.2
| omega_c | 0: 7.2708e-05; 1: rad/s; 2: 7.2708e-05
| omega_c_nor | 0: 0.0043625; 1: rad; 2: 0.00036354
| y | 0: 9.5157e-06; 2: 6.6081e-08
| alpha | 0: 0.004353

## Single Page Setup
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
0 | P | M |  |  | a | H |  |  | t | V | O | C |  |  |  | 3 | 8 | . | 3 | %
1 | n | r | m | l | n | r | m | l | n | r | m | l |  |  | + | 2 | 5 | . | 3 | C
2 | C | O | 2 |  | d | P |  |  | 1 | 2 | 3 | u |  |  | + | 5 | . | 1 | m | b
3 | n | r | m | l | n | r | m | l | 1 | 2 | 3 | u |  | 1 | 2 | 3 | 4 | p | p | m
| n | r | m | l
| t | h | r | s
| l | o | w
| h | i | g | h
| e | x | c | s
| p | o | o | r
| h | o | t
| c | o | l | d
Particulate Matter | bar: n to r
absolute Humidity | bar: n to r
CO2 | n: C; r: O; m: 2
deltaPressure | bar: n to r
Temp | bar: n
totalVolotileOrganicCompounds | n: t; r: V; m: O; l: C